## Residual Head EcoTec 630 Var
Residual Head Examples.
https://www.diynot.com/diy/threads/worcester-bosch-system-boiler-best-pump-settings.626738/page-3
|  |  |  | 57.74% |  |  |  | 57.74%
|  |  |  | 6M Wilo | 6M Wilo |  | 6M Wilo | 6M Wilo | 6M Wilo
|  |  | 6M Wilo | CC1 | CP Various | Plus 430 | CC3 | CC1 | CP Various | 1 | M
Pump | Pump | Pump | Pump | Pump | Pump | HEX | Residual | Residual | Residual
Flow | Flow | Flow | Head | Head | Head | dP | Head | Head | Head
m3/hr | LPH | LPM | M | M | M | M | M | M | M
0 | 0 | 0 | 6 | 2.04 | 1 | 0 | 6 | 2.04 | 1
0.2 | 199.92 | 3.332 | 6.04 | 2.03 | 1 | 0.062446 | 5.9776 | 1.9676 | 0.93755
0.3 | 299.88 | 4.998 | 5.97 | 2.02 | 1 | 0.1405 | 5.8295 | 1.8795 | 0.8595
0.5 | 499.8 | 8.33 | 5.78 | 2 | 1 | 0.39029 | 5.3897 | 1.6097 | 0.60971
0.7 | 699.72 | 11.662 | 5.71 | 1.97 | 1 | 0.76497 | 4.945 | 1.205 | 0.23503
0.8 | 799.968 | 13.3328 | 5.6 | 1.94 | 1 | 0.99986 | 4.6001 | 0.94014 | 0.00014009
1 | 999.96 | 16.666 | 5.2 | 1.874 | 1 | 1.5623 | 3.6377 | 0.31172 | -0.56228
1.2 | 1199.952 | 19.9992 | 4.7 | 1.785 | 1 | 2.2497 | 2.4503 | -0.46468 | -1.2497
1.2905 | 1290 | 21.5 | 4.55 | 1.74 | 1 | 2.6 | 1.95 | -0.86 | -1.6
1.4 | 1399.944 | 23.3324 | 4.35 | 1.675 | 1 | 3.0621 | 1.2879 | -1.3871 | -2.0621
1.6 | 1599.936 | 26.6656 | 3.8 | 1.538 | 1 | 3.9994 | -0.19944 | -2.4614 | -2.9994
1.8 | 1799.928 | 29.9988 | 3.5 | 1.38 | 1 | 5.0618 | -1.5618 | -3.6818 | -4.0618
2 | 1999.92 | 33.332 | 3.1 | 1.2 | 1 | 6.2491 | -3.1491 | -5.0491 | -5.2491
|  | Vaillant EcoTec Plus 430 HEX dP is 2.6M @ 21.5LPM |  |  |  |  | (1290LPH)
Pump Curves for the ecoTec Plus 430
Pump Curves for the ecoTec Plus 630
[9 empty] | Residual | Flowrate
[9 empty] | Head | LPM
[9 empty] | 100 | 24.58
[9 empty] | 200 | 23
[9 empty] | 250 | 22
[9 empty] | 300 | 21.25
[9 empty] | 400 | 18.83

## Residual Head EcoTec 635
Spreadsheet protected but not passwird protected, value in yellow may be changed with protection ON.
[5 empty] | Hex | Hex | Hex | Hex | Hex | Hex
[5 empty] | Loss | Flow | Flow | Loss | Flow | Flow
[5 empty] | M | LPM | LPM | M | LPM | LPM
| Internal | Internal | 635 |  | 3.54 | 25.05 | 1505 | 3.3 | 24.1859 | 1451.1567
| Pump | Pump | HEX | Residual
| Flow | Head | dP | Head
LPH | LPM | M | M | M
0 | 0 | 6 | 0 | 6
300 | 5 | 6.04 | 0.14066 | 5.8993
699.972 | 11.6662 | 5.97 | 0.76576 | 5.2042
799.968 | 13.3328 | 5.78 | 1.0002 | 4.7798
999.96 | 16.666 | 5.71 | 1.5628 | 4.1472
1140 | 19 | 5.6 | 2.0311 | 3.5689
1199.952 | 19.9992 | 5.2 | 2.2504 | 2.9496
1290 | 21.5 | 4.7 | 2.6008 | 2.0992
1305 | 21.75 | 4.65 | 2.6617 | 1.9883
1380 | 23 | 4.5 | 2.9764 | 1.5236
1399.944 | 23.3324 | 4.35 | 3.063 | 1.287
1528.2 | 25.47 | 3.8 | 3.65 | 0.15002
1548 | 25.8 | 3.5 | 3.7452 | -0.24518
| Vaillant EcoTec Plus 430 HEX dP is 2.6M @ 21.5LPM |  |  |  | (1290LPH)
Assumes that the same Hex is fitted to the 635
since its not given.