## Wilo Yonos Pico&Tom Tucson
Spreadsheet Ptotected but not password protected
Values in yellow may be changed with protection ON
Graph is dynamic and will change with changing known and PP values
|  | Known | Known
|  | Head | Flow
|  | M | m3/hr
|  | 3.64 | 0.8
Wilo Yonis Pico |  | ups2
PP Settings | PP Head | PP flow | Act Flow
PP3=2.0/0.0 m3/hr | M | m3/hr | m3/hr
PP4=1.38/0.0 m3/hr | 4.5 | 1.25 | 0.8895
PP4.5=1.25/0.0 m3/hr | 2.25 | 0 | 0.62897
PP5=0.85/0.0 m3/hr
PP6=0.5/0.0 m3/hr